UNO

One-piece Dental Implant

Creating restoration without screw channel for Cement Fixation

guide for ExoCAD software

Bauer’s Implants

Step 1.                Close DentalCADApp if it is open.

Step 2.                Go to: DentalCADApp/config folder on                        your computer.

Step 3.                Make a backup copy of defaultsettings.xml file.

Step 4.                Open defaultsettings.xml file and enter the tag line:

<ImplantCloseHoles>true</ImplantCloseHoles>

between tag lines:

<ApplicationSettingsProviderCAD>

and

</ApplicationSettingsProviderCAD>

Step 5.                Save and close defaultsettings.xml file.

Note: to turn screw channel hole feature back on,

simply delete added tag line or change the value “true”

to “false”.